## PePeromia Pant
Peperomia Plant
Conditions | Actuators | Fan | Heater | Light | CO2 pump | water | Remarks
Light (Halb bis halbschattig) | below theshold value | OFF | OFF | ON | OFF | OFF
| Threshold Value | OFF | OFF | OFF | OFF | OFF
| above theshold value | OFF | OFF | OFF | OFF | OFF
CO2 (40 - 950 ppm) | below theshold value | OFF | OFF | OFF | Manually give CO2 Print log | OFF
| Threshold Value | OFF | OFF | OFF | OFF | OFF
| above theshold value | ON | OFF | OFF | OFF | OFF
Soil moisture (Water range : Normal to Normal) | below theshold value | OFF | OFF | OFF | OFF | Manually give water Print log
| Threshold Value | OFF | OFF | OFF | OFF | OFF
| above theshold value | OFF | ON | OFF | OFF | OFF | If water level is high or we get value of water range higher that our threshold value, we can on Heater (maintain between 24- 28). For some time
Temperature (optimal 24-28°C) | below theshold value | OFF | ON | OFF | OFF | OFF
| Value 24-28°C | OFF | OFF | OFF | OFF | OFF
| above theshold value | ON | OFF | OFF | OFF | Manually give water Print log | As temperature increases. Soil will get dry.
Air humidity (warm humid conditions) | below theshold value | OFF | ON | OFF | OFF | OFF
| Threshold Value | OFF | OFF | OFF | OFF | OFF
| above theshold value | ON | OFF | OFF | OFF | Manually give water Print log
Actuators for Peperomia(Radiator Plant)

## Kalanchoe Plant
Kalanchoe Plant
Conditions | Actuators | Fan | Heater | Light | CO2 pump | water | Remarks
Light (Sonning) | below theshold value | OFF | OFF | ON | OFF | OFF
| Threshold Value | OFF | OFF | OFF | OFF | OFF
| above theshold value | OFF | OFF | OFF | OFF | OFF
CO2 (40 - 950 ppm) | below theshold value | OFF | OFF | OFF | Manually give CO2 Print log | OFF
| Threshold Value | OFF | OFF | OFF | OFF | OFF
| above theshold value | ON | OFF | OFF | OFF | OFF
Soil moisture (Water range : Allow the soil to dry slightly between waterings) | below theshold value | OFF | OFF | OFF | OFF | Manually give water Print log
| Threshold Value | OFF | OFF | OFF | OFF | OFF
| above theshold value | OFF | ON | OFF | OFF | OFF | If water level is high or we get value of water range higher that our threshold value, we can on Heater (maintain between 24- 28). For some time
Temperature (optimal (10- 21°C) | below theshold value | OFF | ON | OFF | OFF | OFF
| Value 24-28°C | OFF | OFF | OFF | OFF | OFF
| above theshold value | ON | OFF | OFF | OFF | Manually give water Print log | As temperature increases. Soil will get dry.
Air humidity (plenty of air flow) | below theshold value | OFF | ON | OFF | OFF | OFF
| Threshold Value | OFF | OFF | OFF | OFF | OFF
| above theshold value | ON | OFF | OFF | OFF | Manually give water Print log
Actuators for Kalanchoe Plant